PLUMBING CERTIFICATION PRESSURE TEST

| Name of Owner(s): |  |  | Permit #l: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Property Address: |  |  | Date of Test: |  |  |  |  |
| Plumbing Contractor: |  |  | License #: |  |  |  |  |
| Ground Work: |  | Rough-in Plumbing: |  |  |  | Final: |  |

| DWV |  |  |  | WATER SERVICE |  |  |  | Note: Testing requirements (section 609.4 & 712.2 & .3 Uniform Plumbing Code) Minimums: Water Test – 10’ Head – 15 minutes Air Test – 5# PSI – 15 minutes Test at Working Pressure: 50# PSI – 15 minutes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Air |  | PSI |  | Air |  | PSI |  |  |
| Water |  | Head |  | Water |  | Working Pressure |  |  |
| Time |  | Minutes |  | Time |  | Minutes |  |  |

I hereby certify the information provided above is the result of the Plumbing System pressure Test conducted by the undersigned at the indicated address and date.  Misrepresentation of this certification is a gross misdemeanor under RCW.9A.72.040, subject to a two-year statute of limitation.  VISUAL SYSTEM INSPECTION IS REQUIRED BEFORE COVER

Signature					Printed Name					Date

PLUMBING CERTIFICATION PRESSURE TEST

| Name of Owner(s): |  |  | Permit #l: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Property Address: |  |  | Date of Test: |  |  |  |  |
| Plumbing Contractor: |  |  | License #: |  |  |  |  |
| Ground Work: |  | Rough-in Plumbing: |  |  |  | Final: |  |

| DWV |  |  |  | WATER SERVICE |  |  |  | Note: Testing requirements (section 609.4 & 712.2 & .3 Uniform Plumbing Code) Minimums: Water Test – 10’ Head – 15 minutes Air Test – 5# PSI – 15 minutes Test at Working Pressure: 50# PSI – 15 minutes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Air |  | PSI |  | Air |  | PSI |  |  |
| Water |  | Head |  | Water |  | Working Pressure |  |  |
| Time |  | Minutes |  | Time |  | Minutes |  |  |

I hereby certify the information provided above is the result of the Plumbing System pressure Test conducted by the undersigned at the indicated address and date.  Misrepresentation of this certification is a gross misdemeanor under RCW.9A.72.040, subject to a two-year statute of limitation.  VISUAL SYSTEM INSPECTION IS REQUIRED BEFORE COVER

Signature						Printed Name					Date